## ConfigData
TestCaseName | OnTap Version | Family | Model | Type | System | Shelf 1 | First Drive | First Drive quantity | Shelf 2 | Second Drive | Second Drive quantity | Include a netapp cabinate | Cabinate Details | Item Summary Storage | Port Count | Cable Type | Cable Length | Qty | NewQty | Are switch services needed? | Response Time | Service Level | Term | Item Summary Switches | Existing_system | Family_ExistingSys | Model_ExistingSys | Type_ExistingSystem | Item Summary System | OnTap Version_ExistingSys | Primary Serial Number | Item Summary Ontap | Shelf | Access Name | Item Summary SwitchlessCluster | Hardware | SES Product | Base Chasis | Base Disk Drive | Item Summary Base Storage , Cabinets And Power | CabinetCableLength | Tradeins Family | Tradeins Model | Tradeins System | Tradeins Type | Tradeins Competitor | Item Summary Tradeins | Nics CableType | Nics CableLength | Nics CableEndType | Item Summary MetroCluster | MCC Manufacturer | MCC Model | MultiVendor Support | ControllerCount | Virtual Qty | Country | Cabinet Installation Type | RackmountKit | RackmountKitSubType | TB's SATA | TB's SAS | TB's SSD | TB's High Cap SSD | TB's Ultra High Cap SSD | 40GbE Cable Required | Item Summary Cable | 40GbE/40GbE | 40GbE/4x10GbE | 4x10GbE/40GbE | 4x10GbE/4x10GbE | Cable Material Port1 | Cable Length Port1 | Cable Material Port2 | Cable Length Port2 | Part numbers | Help Text | Offering | Term | Replacement_parts_and_Response_Time | Software_Support_Plan | Base_Installation | Professional Service Type | Item Summary ProfessionalServices | Date | Solution Area | Item Summary AddOnSoftware | Module Type
verifyCNAPort_FAS2650SA | 9.X | FAS | 2650 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | Copper | 5 | 4 |  | Yes | 24x7x2 | Onsite | 36 |  | 2600 |  |  | Standalone |  | 9.1 NVE
Verify_OntapVersion_FAS9000_AFF_A700_newNonMcc | 9.X | FAS | 9000 |  |  |  | 4TB 7.2K | 12 |  | 8TB 7.2K | 12 | No | Other Cabinet:4-Post In Cabinet component power cord:27 in/ 0.68m | DS212C-07-8.0-12B-2P-C(DSK SHLF,12G,12x8TB,7.2K,2P,-C)= 12; DS212C-07-4.0-12B-2P-C(DSK SHLF,12G,12x4TB,7.2K,2P,-C)=12 | 32 | Copper | 5 | 2 |  | Yes | 24x7x2 | Onsite | 36 |  | 9000 |  |  |  |  | 9.1 NVE |  | SW-ONTAP9.1-NVE(SW,ONTAP9.1,Data at Rest Encryption Capable)=4
Verify_OntapVersion_FAS9000_AFF_A700_newMcc | 9.X | FAS | 9000 |  |  |  | 4TB 7.2K | 12 |  | 8TB 7.2K | 12 | No | Other Cabinet:4-Post In Cabinet component power cord:27 in/ 0.68m | DS212C-07-8.0-12B-2P-C(DSK SHLF,12G,12x8TB,7.2K,2P,-C)= 12; DS212C-07-4.0-12B-2P-C(DSK SHLF,12G,12x4TB,7.2K,2P,-C)=12 | 32 | Copper | 5 | 2 |  | Yes | 24x7x2 | Onsite | 36 |  | 9000 |  |  |  |  | 9.1 NVE |  | SW-ONTAP9.1-NVE(SW,ONTAP9.1,Data at Rest Encryption Capable)=4 | [19 empty] | Cisco | Cisco MDS9148S
Verify_OntapVersion_FAS9000_AFF_A700_addOnNonMcc | 9.X | FAS | 9000 |  |  |  | 4TB 7.2K | 12 |  | 8TB 7.2K | 12 | No | Other Cabinet:4-Post In Cabinet component power cord:27 in/ 0.68m | DS212C-07-8.0-12B-2P-C(DSK SHLF,12G,12x8TB,7.2K,2P,-C)= 12; DS212C-07-4.0-12B-2P-C(DSK SHLF,12G,12x4TB,7.2K,2P,-C)=12 | 32 | Copper | 5 | 2 |  | Yes | 24x7x2 | Onsite | 36 |  | 9000 |  |  | High Availability (Active Active) |  | 9.1 NVE |  | SW-ONTAP9.1-NVE(SW,ONTAP9.1,Data at Rest Encryption Capable)=2
VerifyCablePartNewCluster | 9.X | FAS |  |  |  |  | 30 x 4TB | 12 | [24 empty] | DS460C
verifySwitchConfig | 9.X | ALL FLASH FAS | A700 |  |  |  | 12 x 960GB SSD | 4 |  | 24 x 960GB SSD | 4 |  | Other Cabinet:4-Post In Cabinet component power cord:27 in/ 0.68m |  |  | Copper | 1 | 4 |  | Yes | 24x7x2 | Onsite | 36 |  |  |  |  | High Availability (Active Active) | [5 empty] | PILOT | X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=2
Renewel_SES_fun08 |  | ALL FLASH FAS | A700 | [21 empty] | A700 | [10 empty] | HA 24 x 960GB | Clustered Storage System
Renewel_SES_fun12 |  | ALL FLASH FAS | A700s | [21 empty] | A700 | [10 empty] | HA 24 x 960GB | Clustered Storage System
Renewel_SES_fun06 |  | ALL FLASH FAS | A700s | [21 empty] | A700 | [10 empty] | HA 24 x 960GB | Clustered Storage System
verifyNicsAndAdaptorConfig | 9.X | ALL FLASH FAS | A700 |  |  |  | 12 x 960GB SSD | 4 |  | 24 x 960GB SSD | 4 |  | Other Cabinet:4-Post In Cabinet component power cord:27 in/ 0.68m |  |  | Copper | 1 | 4 |  | Yes | 24x7x2 | Onsite | 36 |  |  |  |  | High Availability (Active Active) | [5 empty] | EVAL
Verify_ShelfCombination__FAS9000_NewMetroClusterTest | 9.X | FAS | 9000 |  |  |  | 4TB 7.2K DS4246 | 1 |  | 6TB 7.2K DS4246 | 1 |  |  |  | 32 | Copper | 1 | 8 |  |  | 24x7x2 | Onsite | 36 | SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=4;X190001(ClusterNet Interconnect,32Pt,40Gb)=4;X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=4;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=8;X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=12; | [26 empty] | DS4246-0796-24A-0P-R6-C(DSK SHLF,24x4.0TB,7.2K,6G,0P,-C)=2;DS4246-07A1-24A-0P-R6-C(DSK SHLF,24x6.0TB,7.2K,6G,0P,-C)=2;X8785-R6(Bracket,42U Cabinet Cisco 9148 L-Mounting)=8; | Cisco | Cisco MDS9148S | FlexPod Datacenter (FAS/AFF) | 4 | 2
Verify_ShelfCombination__AFF_A700_NewMetroClusterTest | 9.X | ALL FLASH FAS | A700 |  |  |  | 24 x 960GB SSD | 1 |  | 24 x 3.8TB SSD | 1 |  |  |  | 32 | Copper | 1 | 8 |  |  | 24x7x2 | Onsite | 36 | SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=4;X190001(ClusterNet Interconnect,32Pt,40Gb)=4;X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=4;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=8;X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=12; | [26 empty] | DS224C-AF-.96-24S-0P-C(SSD SHLF,AFF,12G,24x960GB,0P,-C)=2; DS224C-AF-3.8-24S-0P-C(SSD SHLF,AFF,12G,24x3.8TB,0P,-C)=2;X8785-R6(Bracket,42U Cabinet Cisco 9148 L-Mounting)=8; | Cisco | Cisco MDS9148S | FlexPod Datacenter (FAS/AFF) | 4 | 2
Verify_PartNo__AFF_A300Test | 9.X | ALL FLASH FAS | A300 |  |  |  | 12 x 800GB SSD NSE | 1 |  | 24 x 800GB SSD NSE | 1 |  |  | DS224C-AF-0.8-12N-0P-C(SSD SHLF,AFF,12G,12x800GB,NSE,0P,-C)=1;DS224C-AF-0.8-24N-0P-C(SSD SHLF,AFF,12G,24x800GB,NSE,0P,-C)=1; | 48 | Copper | 1 | 8 |  | Yes | 24x7x2 | Onsite | 36 | X1983-1-R6(Cable,Twinax CU,SFP+,1M,X1962/X1963/X1968)=16;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=2;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=2; | [15 empty] | DS224C-AF-0.8-12N-0P-C(SSD SHLF,AFF,12G,12x800GB,NSE,0P,-C)=1;DS224C-AF-0.8-24N-0P-C(SSD SHLF,AFF,12G,24x800GB,NSE,0P,-C)=1; | [15 empty] | 2 | Argentina | No Installation Hardware Needed
Verify_PartNo__AFF_A700Test | 9.X | ALL FLASH FAS | A700 |  |  |  | 12 x 3.8TB SSD | 1 |  | 12 x 15.3TB SSD | 1 |  |  |  | 32 | Copper | 1 | 4 |  | Yes | 24x7x2 | Onsite | 36 | X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=6;X81012(Pwr Cord,250V,10A,IRAM 2073,Argentina,X190001)=4;SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=2;X190001(ClusterNet Interconnect,32Pt,40Gb)=2; | [15 empty] | DS224C-AF-15.3-12S-0P-C(SSD SHLF,AFF,12G,12x15.3TB,0P,-C)=1;DS224C-AF-3.8-12S-0P-C(SSD SHLF,AFF,12G,12x3.8TB,0P,-C)=1; | [15 empty] | 2 | Argentina | No Installation Hardware Needed
Verify_PartNo__AFF_A200Test | 9.X | ALL FLASH FAS | A200 | [11 empty] | 48 | Copper | 1 | 4 |  | Yes | 24x7x2 | Onsite | 36 | X8012-R6(Power Cable Argentina,X1967)=4;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=2;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=2; | [13 empty] | Half | 3.8TB SSD | AFF-A200-104-C(AFF A200,12X3.8TB SSD,-C)=1; | [15 empty] | 2 | Argentina | No Installation Hardware Needed
Verify_NewCluster_Storage__AFF_8040Test | 9.X | ALL FLASH FAS | 8040 |  |  |  | 12 x 400GB SSD | 4 |  | 24 x 400GB SSD | 4 |  |  |  | 48 | Copper | 1 | 8 |  | Yes | 24x7x2 | Onsite | 36 | X1983-1-R6(Cable,Twinax CU,SFP+,1M,X1962/X1963/X1968)=16; X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=4;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=2;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=2; | [15 empty] | DS2246-AF096-24S-0P-R6-C(SSD SHLF,AFF,24x400GB,0P,-C)=4; DS2246-AF048-12S-0P-R6-C(SSD SHLF,AFF,12x400GB,0P,-C)=4;CS-MV-CI-FLEXPOD(FlexPod Support)=1; | [13 empty] | FlexPod Datacenter (FAS/AFF) |  |  | Argentina | No Installation Hardware Needed
Verify_NewCluster_Storage__AFF_8080Test | 9.X | ALL FLASH FAS | 8080 |  |  |  | 12 x 400GB SSD | 4 |  | 24 x 400GB SSD | 4 |  |  |  | 48 | Copper | 1 | 8 |  | Yes | 24x7x2 | Onsite | 36 | X1983-1-R6(Cable,Twinax CU,SFP+,1M,X1962/X1963/X1968)=16; X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=4;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=2;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=2; | [15 empty] | DS2246-AF096-24S-0P-R6-C(SSD SHLF,AFF,24x400GB,0P,-C)=4; DS2246-AF048-12S-0P-R6-C(SSD SHLF,AFF,12x400GB,0P,-C)=4;CS-MV-CI-FLEXPOD(FlexPod Support)=1; | [13 empty] | FlexPod Datacenter (FAS/AFF) |  |  | Argentina | No Installation Hardware Needed
Verify_NewCluster_Storage__AFF_A300Test | 9.X | ALL FLASH FAS | A300 |  |  |  | 12 x 800GB SSD NSE | 1 |  | 24 x 800GB SSD NSE | 1 |  |  |  | 48 | Copper | 1 | 8 |  | Yes | 24x7x2 | Onsite | 36 | X1983-1-R6(Cable,Twinax CU,SFP+,1M,X1962/X1963/X1968)=16; X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=4;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=2;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=2; | [15 empty] | DS224C-AF-0.8-12N-0P-C(SSD SHLF,AFF,12G,12x800GB,NSE,0P,-C)=1;DS224C-AF-0.8-24N-0P-C(SSD SHLF,AFF,12G,24x800GB,NSE,0P,-C)=1;CS-MV-CI-FLEXPOD(FlexPod Support)=1; | [13 empty] | FlexPod Datacenter (FAS/AFF) |  |  | Argentina | No Installation Hardware Needed
Verify_NewCluster_Storage__AFF_A700Test | 9.X | ALL FLASH FAS | A700 |  |  |  | 12 x 3.8TB SSD | 1 |  | 12 x 15.3TB SSD | 1 |  |  |  | 32 | Copper | 1 | 4 | [5 empty] | X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=6;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=4;SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=2;X190001(ClusterNet Interconnect,32Pt,40Gb)=2; | [15 empty] | DS224C-AF-15.3-12S-0P-C(SSD SHLF,AFF,12G,12x15.3TB,0P,-C)=1;DS224C-AF-3.8-12S-0P-C(SSD SHLF,AFF,12G,12x3.8TB,0P,-C)=1;CS-MV-CI-FLEXPOD(FlexPod Support)=1; | [13 empty] | FlexPod Datacenter (FAS/AFF) |  |  | Argentina | No Installation Hardware Needed
Verify_NewMetroCluster_Storage__AFF_8040Test | 9.X | ALL FLASH FAS | 8040 |  |  |  | 24 x 400GB SSD | 4 |  | 24 x 800GB SSD | 4 |  |  |  | 48 | Copper | 1 | 8 |  | N/A | 24x7x2 | Onsite | 36 | X1983-1-R6(Cable,Twinax CU,SFP+,1M,X1962/X1963/X1968)=24;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=8;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=4;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=4; | [23 empty] | Fiber | 2 | LC-LC | DS2246-AF096-24S-0P-R6-C(SSD SHLF,AFF,24x400GB,0P,-C)=8;DS2246-AF192-24S-0P-R6-C(SSD SHLF,AFF,24x800GB,0P,-C)=8;X6553-R6-C(Cable,Cntlr-Shelf/Switch,2m,LC/LC,Op,-C)=16;X8785-R6(Bracket,42U Cabinet Cisco 9148 L-Mounting)=8; | Cisco | Cisco MDS9148S |  | 4
Verify_NewMetroCluster_Storage__AFF_8080Test | 9.X | ALL FLASH FAS | 8080 |  |  |  | 24 x 400GB SSD | 4 |  | 24 x 800GB SSD | 4 |  |  |  | 48 | Copper | 1 | 8 |  | N/A | 24x7x2 | Onsite | 36 | X1983-1-R6(Cable,Twinax CU,SFP+,1M,X1962/X1963/X1968)=24;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=8;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=4;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=4; | [23 empty] | Fiber | 2 | LC-LC | DS2246-AF096-24S-0P-R6-C(SSD SHLF,AFF,24x400GB,0P,-C)=8;DS2246-AF192-24S-0P-R6-C(SSD SHLF,AFF,24x800GB,0P,-C)=8;X6553-R6-C(Cable,Cntlr-Shelf/Switch,2m,LC/LC,Op,-C)=16;X8785-R6(Bracket,42U Cabinet Cisco 9148 L-Mounting)=8; | Cisco | Cisco MDS9148S |  | 4
Verify_NewMetroCluster_Storage__AFF_A300Test | 9.X | ALL FLASH FAS | A300 |  |  |  | 24 x 3.8TB SSD | 1 |  | 24 x 15.3TB SSD | 1 |  |  |  | 48 | Copper | 1 | 8 |  | N/A | 24x7x2 | Onsite | 36 | X1983-1-R6(Cable,Twinax CU,SFP+,1M,X1962/X1963/X1968)=24;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=8;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=4;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=4; | [23 empty] | Fiber | 2 | LC-LC | DS224C-AF-15.3-24S-0P-C(SSD SHLF,AFF,12G,24x15.3TB,0P,-C)=2;DS224C-AF-3.8-24S-0P-C(SSD SHLF,AFF,12G,24x3.8TB,0P,-C)=2;X66250-2-C(Cable,LC-LC,OM4,2m,-C)=16;X8785-R6(Bracket,42U Cabinet Cisco 9148 L-Mounting)=8; | Cisco | Cisco MDS9148S |  | 4
Verify_NewMetroCluster_Storage__AFF_A700Test | 9.X | ALL FLASH FAS | A700 |  |  |  | 24 x 3.8TB SSD | 1 |  | 24 x 15.3TB SSD | 1 |  |  |  | 32 | Copper | 1 | 8 |  |  | 24x7x2 | Onsite | 36 | SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=4;X190001(ClusterNet Interconnect,32Pt,40Gb)=4;X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=12;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=8; | [26 empty] | DS224C-AF-15.3-24S-0P-C(SSD SHLF,AFF,12G,24x15.3TB,0P,-C)=2;DS224C-AF-3.8-24S-0P-C(SSD SHLF,AFF,12G,24x3.8TB,0P,-C)=2;X8785-R6(Bracket,42U Cabinet Cisco 9148 L-Mounting)=8; | Cisco | Cisco MDS9148S |  | 4
Verify_AddExistingNewCluster_Storage__AFF_8040Test | 9.X | ALL FLASH FAS | 8040 |  |  |  | 12 x 400GB SSD | 1 |  | 24 x 400GB SSD | 1 |  |  | DS2246-AF096-24S-0P-R6-C(SSD SHLF,AFF,24x400GB,0P,-C)=1;DS2246-AF048-12S-0P-R6-C(SSD SHLF,AFF,12x400GB,0P,-C)=1; |  | Copper | 3 |  |  |  | 24x7x2 | Onsite | 36 | X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=2;X66100-3(Cable,Direct Attach CU SFP+,40Gb,3m)=4; X66120-3(Cable,Direct Attach CU 40G QSFP/4x10G SFP,3m)=2;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=4;SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=2;X190001(ClusterNet Interconnect,32Pt,40Gb)=2; | 9000 | FAS | 9000 | High Availability (Active Active) |  | 9.1 NVE | [10 empty] | 27 in / 0.68m
Verify_AddExistingNewCluster_Storage__AFF_8080Test | 9.X | ALL FLASH FAS | 8080 |  |  |  | 12 x 400GB SSD | 1 |  | 24 x 400GB SSD | 1 |  |  | DS2246-AF096-24S-0P-R6-C(SSD SHLF,AFF,24x400GB,0P,-C)=1;DS2246-AF048-12S-0P-R6-C(SSD SHLF,AFF,12x400GB,0P,-C)=1; |  | Copper | 3 |  |  |  | 24x7x2 | Onsite | 36 | X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=2;X66100-3(Cable,Direct Attach CU SFP+,40Gb,3m)=4; X66120-3(Cable,Direct Attach CU 40G QSFP/4x10G SFP,3m)=2;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=4;SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=2;X190001(ClusterNet Interconnect,32Pt,40Gb)=2; | 9000 | FAS | 9000 | High Availability (Active Active) |  | 9.1 NVE | [10 empty] | 27 in / 0.68m
Verify_AddExistingNewCluster_Storage__AFF_A300Test | 9.X | ALL FLASH FAS | A300 |  |  |  | 12 x 800GB SSD NSE | 1 |  | 24 x 800GB SSD NSE | 1 |  |  | DS224C-AF-0.8-12N-0P-C(SSD SHLF,AFF,12G,12x800GB,NSE,0P,-C)=1;DS224C-AF-0.8-24N-0P-C(SSD SHLF,AFF,12G,24x800GB,NSE,0P,-C)=1; |  | Copper | 3 | [7 empty] | 9000 | FAS | 9000 | High Availability (Active Active) |  | 9.1 NVE | [10 empty] | 27 in / 0.68m
Verify_AddExistingNewCluster_Storage__AFF_A700Test | 9.X | ALL FLASH FAS | A700 |  |  |  | 24 x 3.8TB SSD | 1 |  | 24 x 15.3TB SSD | 1 |  |  | DS224C-AF-3.8-24S-0P-C(SSD SHLF,AFF,12G,24x3.8TB,0P,-C)=1;DS224C-AF-15.3-24S-0P-C(SSD SHLF,AFF,12G,24x15.3TB,0P,-C)=1; | 32 | Copper | 1 | 8 |  |  | 24x7x2 | Onsite | 36 | X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=10;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=4;SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=2;X190001(ClusterNet Interconnect,32Pt,40Gb)=2; | 9000 | FAS | 9000 | High Availability (Active Active) |  | 9.1 NVE | [10 empty] | 27 in / 0.68m
Verify_AddExistingMetroCluster_Storage__AFF_8040Test | 9.X | ALL FLASH FAS | 8040 |  |  |  | 24 x 400GB SSD | 4 |  | 24 x 800GB SSD | 4 |  |  |  | 32 | Copper | 3 | 2 | 8 |  | 24x7x2 | Onsite | 36 | X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=4;X66100-3(Cable,Direct Attach CU SFP+,40Gb,3m)=8;X66120-3(Cable,Direct Attach CU 40G QSFP/4x10G SFP,3m)=2;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=8;SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=4;X190001(ClusterNet Interconnect,32Pt,40Gb)=4; | 9000 | FAS | 9000 | High Availability (Active Active) |  | 9.1 NVE | [10 empty] | 27 in / 0.68m | [6 empty] | Fiber | 2 | LC-LC | DS2246-AF096-24S-0P-R6-C(SSD SHLF,AFF,24x400GB,0P,-C)=8;DS2246-AF192-24S-0P-R6-C(SSD SHLF,AFF,24x800GB,0P,-C)=8;X6553-R6-C(Cable,Cntlr-Shelf/Switch,2m,LC/LC,Op,-C)=16;X8785-R6(Bracket,42U Cabinet Cisco 9148 L-Mounting)=8; | Cisco | Cisco MDS9148S |  | 4
Verify_AddExistingMetroCluster_Storage__AFF_8080Test | 9.X | ALL FLASH FAS | 8080 |  |  |  | 24 x 400GB SSD | 4 |  | 24 x 800GB SSD | 4 |  |  |  | 32 | Copper | 3 | 2 | 8 |  | 24x7x2 | Onsite | 36 | X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=4;X66100-3(Cable,Direct Attach CU SFP+,40Gb,3m)=8;X66120-3(Cable,Direct Attach CU 40G QSFP/4x10G SFP,3m)=2;X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=8;SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=4;X190001(ClusterNet Interconnect,32Pt,40Gb)=4; | 9000 | FAS | 9000 | High Availability (Active Active) |  | 9.1 NVE | [10 empty] | 27 in / 0.68m | [6 empty] | Fiber | 2 | LC-LC | DS2246-AF096-24S-0P-R6-C(SSD SHLF,AFF,24x400GB,0P,-C)=8;DS2246-AF192-24S-0P-R6-C(SSD SHLF,AFF,24x800GB,0P,-C)=8;X6553-R6-C(Cable,Cntlr-Shelf/Switch,2m,LC/LC,Op,-C)=16;X8785-R6(Bracket,42U Cabinet Cisco 9148 L-Mounting)=8; | Cisco | Cisco MDS9148S |  | 4
VerifyUI_FAS2650SA_Test | 9.X | FAS | 2650 | Standalone | 2600 | [9 empty] | 48 | Copper | 1 | 4 |  | Yes | 24x7x2 | Onsite | 36 | X1983-1-R6(Cable,Twinax CU,SFP+,1M,X1962/X1963/X1968)=12;SVC-CISCO-ENTITLEMENT(Entitlement,Cisco Switch NOW Site)=2;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=2;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=2 |  |  |  |  | X3310A-C(SUB ASSY,NVME,FLASH,512GB,-C)=1 | 9.1 NVE | [47 empty] | Premium | 36 | 4h Parts Replacement |  | Checked
VerifyServicesTest | 9.X | FAS | 2650 | [9 empty] | Other Cabinet:4-Post In Cabinet component power cord:27 in/ 0.68m |  | 48 | Copper | 1 | 4 |  | Yes | 24x7x2 | Onsite | 36 | X1983-1-R6(Cable,Twinax CU,SFP+,1M,X1962/X1963/X1968)=12;SVC-CISCO-ENTITLEMENT(Entitlement,Cisco Switch NOW Site)=2;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=2;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=2 | [13 empty] | Full | 900GB 10K | X-02659-00(Rail Kit,4-Post,Rnd/Sq-Hole,Adj,24-32)=1;X800-42U-R6(Power Cable,In-Cabinet,C13-C14)=2;FAS2650-102-C(FAS2650,24x900GB,10K,-C)=1 | 27 in / 0.68m
Verify_No_NVEnSSR_Test | 9.X | FAS | 2650 | Standalone | 2600 | [9 empty] | 48 | Copper | 1 | 4 |  | Yes | 24x7x2 | Onsite | 36 | X1983-1-R6(Cable,Twinax CU,SFP+,1M,X1962/X1963/X1968)=12;SVC-CISCO-ENTITLEMENT(Entitlement,Cisco Switch NOW Site)=2;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=2;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=2 |  |  |  |  | X3310A-C(SUB ASSY,NVME,FLASH,512GB,-C)=1 | 9.1 NVE | [47 empty] | Standard |  | 4h Parts Replacement
Verify_NewCluster_NetAppTadeinsTest | 9.X | ALL FLASH FAS | 8040 |  |  |  | 12 x 400GB SSD | 4 |  | 24 x 400GB SSD | 4 |  |  | DS2246-AF096-24S-0P-R6-C(SSD SHLF,AFF,24x400GB,0P,-C)=4; DS2246-AF048-12S-0P-R6-C(SSD SHLF,AFF,12x400GB,0P,-C)=4; | 48 | Copper | 1 | 8 |  | N/A | 24x7x2 | Onsite | 36 | SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=2;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=2; | [17 empty] | FAS | 2220 | 2200 | NetApp Trade-ins | N/A | FAS2220-BASE-RTN(FAS2220 Trade-in Return Credit)=1;
Verify_NewCluster_CompetitiveTadeinsTest | 9.X | ALL FLASH FAS | 8040 |  |  |  | 12 x 400GB SSD | 4 |  | 24 x 400GB SSD | 4 |  |  | DS2246-AF096-24S-0P-R6-C(SSD SHLF,AFF,24x400GB,0P,-C)=4; DS2246-AF048-12S-0P-R6-C(SSD SHLF,AFF,12x400GB,0P,-C)=4; | 48 | Copper | 1 | 8 |  | N/A | 24x7x2 | Onsite | 36 | X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=4;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=2;X1967-R6(ClusterNet Interconnect,48Pt,10Gb)=2; | [18 empty] | AX4 | CLARiiON | Competitive Trade-ins | EMC | CLARIIONAX4-BASE-RTN(CLARIION-AX4 Trade-in Credit Return)=1;
Verify_NewMetroCluster_NetAppTadeinsTest | 9.X | ALL FLASH FAS | 8040 |  |  |  | 24 x 400GB SSD | 4 |  | 24 x 800GB SSD | 4 |  |  |  | 48 | Copper | 1 | 8 |  | N/A | 24x7x2 | Onsite | 36 | X1558A-R6(Power Cable,In-Cabinet,48-IN,C13-C14)=4;SVCVN-PREM-X1967(HW Support,X1967,Onsite,24x7x2hr)=2; | [17 empty] | FAS | 2220 | 2200 | NetApp Trade-ins | N/A | FAS2220-BASE-RTN(FAS2220 Trade-in Return Credit)=1; | Fiber | 2 | LC-LC | DS2246-AF096-24S-0P-R6-C(SSD SHLF,AFF,24x400GB,0P,-C)=8;DS2246-AF192-24S-0P-R6-C(SSD SHLF,AFF,24x800GB,0P,-C)=8;X6553-R6-C(Cable,Cntlr-Shelf/Switch,2m,LC/LC,Op,-C)=16;X8785-R6(Bracket,42U Cabinet Cisco 9148 L-Mounting)=8; | Cisco | Cisco MDS9148S
CopyWithUpdatesTest | 9.X | FAS | 8200 |  |  |  | 4TB 7.2K | 12 |  | 8TB 7.2K | 12 | No | Other Cabinet:4-Post In Cabinet component power cord:27 in/ 0.68m | DS212C-07-8.0-12B-2P-C(DSK SHLF,12G,12x8TB,7.2K,2P,-C)= 12; DS212C-07-4.0-12B-2P-C(DSK SHLF,12G,12x4TB,7.2K,2P,-C)=13 | 32 | Copper | 5 | 2 |  | Yes | 24x7x2 | Onsite | 36 | X66120-5(Cable,Direct Attach CU 40G QSFP/4x10G SFP,5m)=2; SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=2
VerifyNewMessagesTest | 9.X | FAS | 8200 |  |  |  | 4TB 7.2K | 12 |  | 8TB 7.2K | 12 | No | Other Cabinet:4-Post In Cabinet component power cord:27 in/ 0.68m | DS212C-07-8.0-12B-2P-C(DSK SHLF,12G,12x8TB,7.2K,2P,-C)= 12; DS212C-07-4.0-12B-2P-C(DSK SHLF,12G,12x4TB,7.2K,2P,-C)=13 | 32 | Copper | 5 | 2 |  | Yes | 24x7x2 | Onsite | 36 | X66120-5(Cable,Direct Attach CU 40G QSFP/4x10G SFP,5m)=2; SVCVN-PREM-X190001(HW Support,X190001,Onsite,24x7x2hr)=2
Verify_Availability_FAS_2NodeTest | 9.X | FAS | 8020 |  |  |  | 900GB 10K DS2246 | [7 empty] | 10GbE/FCoE | Fiber | 2 | [30 empty] | Fiber | 2 | LC-LC |  | Brocade | 7840 24x16G 2x10GbE SR SFPs | FlexPod Datacenter (FAS/AFF) | 2 |  | Argentina | Other Cabinet
Verify_OCPoption_PSTest | [82 empty] | Resident (Onsite/Remote)
Verify_FFP_ForNigeriaTest | [17 empty] | 1 | [15 empty] | Select All | [21 empty] | 2 | Nigeria | [25 empty] | Firm Fixed Price (FFP) | PS-RDSP-CMR-ASSES-BASE-ZC;PS-RDSP-CMR-OPTION-14-ZC;PS-RDSP-CMR-OPTION-20-ZC;PS-FFP-CMR-SAN-MED-ZC;PS-FFP-CMR-SAN-SM-ZC |  |  |  | Professional Services
Verify_CFFP_ForNigeriaTest | [17 empty] | 500 | 1 | [14 empty] | Select All | [21 empty] | 2 | Nigeria | [25 empty] | Custom Firm Fixed Price (CFFP) | PS-SOW;PS-SOW-ASSESS-PERF;PS-SOW-E-HADOOP;PS-SOW-HOMOG-DATA-MIGRATE;PS-SOW-IMPL-NETWORK;PS-SOW-MGMT-SW;PS-SOW-SOL-ASSESS-CMR;PS-SOW-SOL-BR;PS-SOW-SOL-WORKFLOW-ATMN;PS-SOW-WORKSHOP;PS-SOW-CONSULTING-PR2 |  |  |  | Professional Services
Verify_Resident_ForNigeriaTest | [17 empty] | 500 | 1 | [14 empty] | Select All | [21 empty] | 2 | Nigeria | [25 empty] | Resident (Onsite/Remote) | PS-RESIDENT-STG-CON-ZC | 29-Nov-1998 |  |  | Professional Services
Verify_TandM_ForNigeriaTest | [17 empty] | 6 | 25 | [14 empty] | Select All | [21 empty] | 2 | Nigeria | [25 empty] | Time and Materials (T&M) | PS-FED-ENGINEER-HY-HR;PS-TM-CONSLT-BLOCK-ZC;PS-TM-CONSULT-DAY-ZC;PS-TM-CONSULT-NB-DAY-ZC;PS-TMS-HOURLY-ZC;PS-TM-GSDC-NRSHR-DAY-ZC
Verify_MinQty_PSSOW_CFFPTest | [17 empty] | 1 | [15 empty] | SSR | [48 empty] | Custom Firm Fixed Price (CFFP) | PS-SOW |  | Consulting Solution
Verify_MinQty_PSSOWSOLMIGRATE_CFFPTest | [17 empty] | 1 | [15 empty] | SSR | [48 empty] | Custom Firm Fixed Price (CFFP) | PS-SOW-SOL-MIGRATE |  | Data Migration Services
Verify_OnTapSelectFor_AddOnSSPTest | [17 empty] | 30 | 70 |  |  |  | 48 | [32 empty] | 2 | [30 empty] | SW-SSP-ONTAPSEL-M300-STD;SW-SSP-ONTAPSEL-M300-PREM | Add On Software
Verify_SLOAdvancedFor_RenewSSPTest | [17 empty] | 10 |  |  |  |  | 24 | [61 empty] | 29-Nov-1998 |  | SW-SSP-SLO-ADVANCED

## Storage
TestCaseName | First Drive | First Drive quantity | Second Drive | Second Drive quantity | Include a netapp cabinate | Cabinate Details | Item Summary | Quote Lines | PDF
Test | 4Tb 7.2K | 5 | 8 TB 7.2K | 4 | No | Other Cabinet:4-Post In Cabinet component power cord:27 in/ 0.68m | DS4486-07-8-48A-2P-C(DSK SHLF,48x8TB,7.2K,2P,-C)= 4;DS4486-192TB-2P-R6-C(DSK SHLF,48x4.0TB,2P,-C)=5 | DS212C-07-8.0-12B-2P-C(DSK SHLF,12G,12x8TB,7.2K,2P,-C)= 4 DS212C-07-4.0-12B-2P-C(DSK SHLF,12G,12x4TB,7.2K,2P,-C)=5 | DS212C-07-8.0-12B-2P-C(DSK SHLF,12G,12x8TB,7.2K,2P,-C)= 4 DS212C-07-4.0-12B-2P-C(DSK SHLF,12G,12x4TB,7.2K,2P,-C)=5
2 | 4Tb 7.2K | 4 | 10 TB 7.2K | 5 | No | Other Cabinet:4-Post In Cabinet component power cord:27 in/ 0.68m | DS212C-07-10-12B-2P-C(DSK SHLF,12G,12x10TB,7.2K,2P,-C)=5 DS212C-07-4.0-12B-2P-C(DSK SHLF,12G,12x4TB,7.2K,2P,-C)=4 | DS212C-07-10-12B-2P-C(DSK SHLF,12G,12x10TB,7.2K,2P,-C)=5 DS212C-07-4.0-12B-2P-C(DSK SHLF,12G,12x4TB,7.2K,2P,-C)=4 | DS212C-07-10-12B-2P-C(DSK SHLF,12G,12x10TB,7.2K,2P,-C)=5 DS212C-07-4.0-12B-2P-C(DSK SHLF,12G,12x4TB,7.2K,2P,-C)=4
3 | 6 TB 7.2KNSE | 3 | 10 TB 7.2K NSE | 6 | No | Other Cabinet:4-Post In Cabinet component power cord:27 in/ 0.68m | DS212C-07-6.0-12N-2P-C(DSK SHLF,12G,12x6TB,7.2K,NSE,2P,-C)=3 DS212C-07-10-12N-2P-C( DSK SHLF,12G,12x10TB,7.2K,NSE,2P,-C)=6 | DS212C-07-6.0-12N-2P-C(DSK SHLF,12G,12x6TB,7.2K,NSE,2P,-C)=3 DS212C-07-10-12N-2P-C( DSK SHLF,12G,12x10TB,7.2K,NSE,2P,-C)=6 | DS212C-07-6.0-12N-2P-C(DSK SHLF,12G,12x6TB,7.2K,NSE,2P,-C)=3 DS212C-07-10-12N-2P-C( DSK SHLF,12G,12x10TB,7.2K,NSE,2P,-C)=6

## Cable
TestCaseName | Cable Type | Cable Length | Qty | Item Summary | Item Summary | Quote Lines
Test | Copper | 1 | 2 | X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=4 | X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=4 | X66100-1(Cable,Direct Attach CU SFP+,40Gb,1m)=4
2 | Copper | 3 | 2 | X66100-3( Cable,Direct Attach CU SFP+,40Gb,3m)=4 | X66100-3( Cable,Direct Attach CU SFP+,40Gb,3m)=4 | X66100-3( Cable,Direct Attach CU SFP+,40Gb,3m)=4
3 | Copper | 5 | 2 | X66100-5(Cable,Direct Attach CU SFP+,40Gb,5m)=6 | X66100-5(Cable,Direct Attach CU SFP+,40Gb,5m)=6 | X66100-5(Cable,Direct Attach CU SFP+,40Gb,5m)=6

## Sheet3
TestCaseName | Are switch services needed? | Response Time | Service Level | Term | Item Summary | Item Summary | Quote Lines | Verify_FFP_ForNigeriaTest | PS-FFP-ORCL-ACEL-DB-ZC;PS-FFP-ORCL-DR-ACEL-DB-ZC;PS-FFP-ORCL-HA-ACEL-DB-ZC;PS-FFP-ORCL-SAN-ACL-DB-ZC;
Test | Yes | 24 x 7 x 2 | Onsite | 36 months | SVCVN-PREM-X190001( HW Support,X190001,Onsite,24x7x2hr)=2 | SVCVN-PREM-X190001( HW Support,X190001,Onsite,24x7x2hr)=2 | SVCVN-PREM-X190001( HW Support,X190001,Onsite,24x7x2hr)=2 | Verify_CFFP_ForNigeriaTest | PS-SOW-STRATEGY
2 | Yes | 24 x 7 x 2 | Part Replacement | 36 months | SVCVN-S2P-X190001(HW Support,X190001,Parts,24x7x2hr)=2 | SVCVN-S2P-X190001(HW Support,X190001,Parts,24x7x2hr)=2 | SVCVN-S2P-X190001(HW Support,X190001,Parts,24x7x2hr)=2
3 | Yes | 24 x 7 x 4 | Onsite | 36 months | SVCVN-OSP-X190001(HW Support,X190001,Onsite,24x7x4hr)=2 | SVCVN-OSP-X190001(HW Support,X190001,Onsite,24x7x4hr)=2 | SVCVN-OSP-X190001(HW Support,X190001,Onsite,24x7x4hr)=2
4 | Yes | 24 x 7 x 4 | Part Replacement | 36 months | SVCVN-SNTP-X190001(HW Support,X190001,Parts,24x7x4hr)=2 | SVCVN-SNTP-X190001(HW Support,X190001,Parts,24x7x4hr)=2 | SVCVN-SNTP-X190001(HW Support,X190001,Parts,24x7x4hr)=2
5 | Yes | 8 x 5 x 4 | Onsite | 56 months | SVCVN-SNTE-X190001(HW Support,X190001,Parts,8x5x4hr)=2 | SVCVN-SNTE-X190001(HW Support,X190001,Parts,8x5x4hr)=2 | SVCVN-SNTE-X190001(HW Support,X190001,Parts,8x5x4hr)=2
6 | Yes | 8 x 5 x 4 | Part Replacement | 34 months | SVCVN-SNTE-X190001(HW Support,X190001,Parts,8x5x4hr)=2 | SVCVN-SNTE-X190001(HW Support,X190001,Parts,8x5x4hr)=2 | SVCVN-SNTE-X190001(HW Support,X190001,Parts,8x5x4hr)=2
7 | Yes | 8 x 5 x NBD | Onsite | 30 months | SVCVN-OS-X190001(HW Support,X190001,Onsite, 8x5xNBD)=2 | SVCVN-OS-X190001(HW Support,X190001,Onsite, 8x5xNBD)=2 | SVCVN-OS-X190001(HW Support,X190001,Onsite, 8x5xNBD)=2
8 | Yes | 8 x 5 x NBD | Part Replacement | 28 months | SVCVN-SNT-X190001(HW Support,X190001,Parts,8x5xNBD)=2 | SVCVN-SNT-X190001(HW Support,X190001,Parts,8x5xNBD)=2 | SVCVN-SNT-X190001(HW Support,X190001,Parts,8x5xNBD)=2